FMS #

Date:

[image: image1.png]NMC Department of
Design and
Cons.gtruction




THE CITY OF NEW YORK

DEPARTMENT OF DESIGN AND CONSTRUCTION

DIVISION OF PUBLIC BUILDINGS
ADDENDUM TO THE GENERAL CONDITIONS

FOR SINGLE CONTRACT PROJECTS 

The General Conditions are hereby amended in accordance

with the terms and conditions set forth in this Addendum.


Highlighted text is for instructional purposes only.  The Consultant shall delete such highlighted text from the final document.  Division 1 – DDC Standard General Conditions, shall only be amended by this Addendum to the General Conditions. Sections or Sub-Sections of the General Conditions which are not applicable to this Project as listed in Section VII, Applicability of Sections/Sub-Sections, must be deleted or amended by the Addendum to the General Conditions.  The Consultant shall submit the Addendum to DDC for review, as required by the Design Consultant Guide.  In addition, the Consultant shall submit the Addendum to the General Conditions and the technical Specifications via digital file, as well as by hard copy. 

I.  PROJECT DESCRIPTION 

The Consultant shall provide a description of the Project in the format indicated below.
FMS #:



Insert FMS number
PROJECT NAME: 

Insert Project Name
PROJECT DESCRIPTION: This Project consists of Insert Project description
PROJECT LOCATION:

Insert street address
BOROUGH:
 

Insert borough name
CITY OF NEW YORK

ZIP CODE: 



Insert zip code
COMMUNITY BOARD #: 
Insert community board number
LANDMARK STATUS:


The Consultant shall indicate whether the project is a Designated Landmark Structure or Site, or a Landmark Quality Structure. The Consultant shall also indicate ’Applies’ under Section VII, Applicability of Sections/Sub-Sections, Section 01 3591 Historic Treatment Procedures, if this project is a Designated Landmark Structure or Site, or a Landmark Quality Structure.

DESIGNATED LANDMARK STRUCTURE OR SITE:
Insert YES or NO

If this is a Designated Landmark Structure or Site, Section 01 3591, Historic Treatment Procedures applies 
to this project.

LANDMARK QUALITY STRUCTURE:
Insert YES or NO

If this is a Landmark Quality Structure, Section 01 3591, Historic Treatment Procedures applies to this 
project.
The Consultant shall indicate under Section VII, Applicability of Sections/Sub-Sections, Section 01 3591 Historic Treatment Procedures ‘Does not Apply’, if this project is NOT a Designated Landmark Structure or Site, or a Landmark Quality Structure.
II. LEED GREEN BUILDING REQUIREMENTS

The Consultant shall indicate whether the project is designed to achieve a LEED Green Building Rating and shall indicate the designated rating and version for the project.

If the project is designed to achieve a LEED rating under v3, the Consultant shall also indicate ‘Applies’ under Section VII, Applicability of Sections/Sub-Sections, for Sections 01 7419 Sub-Section 1.5(C) Waste Management Performance Requirements / LEED Certification, 01 8113.03 Sustainable Design Requirements for LEED v3 Buildings; 01 8113.13 VOC Limits for Adhesives, Sealants, Paints and Coatings for LEED v3 Buildings; and 01 8119 Indoor Air Quality Requirements for LEED Buildings.
If the project is designed to achieve a LEED rating under v4, the Consultant shall also indicate ‘Applies’ under Section VII, Applicability of Sections/Sub-Sections, for Sections 01 7419 Sub-Section 1.5(C) Waste Management Performance Requirements / LEED Certification, 01 8113.04 Sustainable Design Requirements for LEED v4 Buildings; and 01 8119 Indoor Air Quality Requirements for LEED Buildings.
 If the project is NOT designed to achieve a LEED Green Building Rating, the Consultant shall delete the provision set forth below and insert ‘Not Used’.
This project must achieve a (Insert either Certified, Silver, Gold or Platinum) LEED Green Building Rating.  A certain number of credits are required for this rating and are detailed in the Addendum. 

(For LEED v3 projects) Sections 01 7419 Sub-Section 1.5(C) Waste Management Performance Requirements / LEED Certification, 01 8113.03 Sustainable Design Requirements for LEED v3 Buildings, 01 8113.13 VOC Limits for Adhesives, Sealants, Paints and Coatings for LEED v3 Buildings, and 01 8119 Indoor Air Quality Requirements for LEED Buildings of the DDC Standard General Conditions shall apply to this project. 

(For LEED v4 projects) Sections 01 7419 Sub-Section 1.5(C) Waste Management Performance Requirements / LEED Certification, 01 8113.04 Sustainable Design Requirements for LEED v4 Buildings and 01 8119 Indoor Air Quality Requirements for LEED Buildings of the DDC Standard General Conditions shall apply to this project.

   III. COMMISSIONING REQUIREMENTS

The Consultant shall indicate whether the project is subject to Commissioning requirements for MEP Systems and/or Building Enclosure. 
The Consultant shall also indicate ‘Applies’ under Section VII, Applicability of Sections/Sub-Sections, Section 01 9113 General Commissioning Requirements for MEP Systems; and/or 01 9115 General Commissioning Requirements for Building Enclosure, if this project is subject to either or both of the specified Commissioning Requirements. 
If the project does not include Commissioning Requirements, the Consultant shall delete the provisions set forth below and insert ‘Not Used’.
This project includes (insert either MEP, Building Enclosure, or MEP and Building Enclosure) Commissioning Requirements. 
If MEP Commissioning is included, insert the following text:
The General Commissioning Requirements for MEP Systems are found in Section 01 9113 of the DDC Standard General Conditions. 
If Building Enclosure Commissioning is included, insert the following text:
The General Commissioning Requirements for Building Enclosure are found in Section 01 9115 of the DDC Standard General Conditions. 
If either or both Commissioning Requirements are included, insert the following text: 
Other specific Commissioning Requirements can be found in the Project Specification Sections.

IV.  PROJECT MANAGEMENT
The Consultant shall check the appropriate box, as directed by DDC.

	


DDC shall publicly bid and enter into all contracts for the Project.  DDC shall manage the Project                                   using its own personnel.

	


DDC shall publicly bid and enter into all contracts for the Project.  A Construction Management firm (the “CM”) hired by DDC shall manage the Project.  The Contractor is advised that the CM shall serve as the representative of the Commissioner at the site and shall, subject to review by the Commissioner, be responsible for the inspection, management, coordination and administration of the required construction work, as delineated in the article of the Standard Construction Contract entitled “The Resident Engineer”.  
V. CONTRACTS FOR THE PROJECT

This Project consists of a single contract. The consultant shall revise the type of contract if other than General Construction work as directed by DDC. 

The Project consists of a single contract, the Contract for General Construction Work.  The Contractor for General Construction Work is responsible for the performance of all required work for the Project as set forth in the Contract Documents (General Conditions, Drawings and Specifications), including all responsibilities and obligations assigned to separate Contractors for the following subdivisions of the work:  Plumbing Work, HVAC Work, and Electrical Work.  All responsibilities and obligations in the Contract Documents assigned to separate Contractors for such subdivisions of the work are the responsibility of the Contractor for General Construction Work.  

VI. SCHEDULES

The Contractor is advised that Schedules A through E are attached to, and incorporated as part of, this Addendum to the General Conditions. These schedules contain important information that is specific to this Project. The Contractor is advised to carefully review these schedules.

VII.  APPLICABILITY OF SECTIONS/SUB-SECTIONS AND AMENDED SUB-SECTIONS
The Consultant shall review each Section/Sub-Section listed below and shall indicate whether the Section/Sub-Section (1) applies to the Project, (2) does not apply to the Project, or (3) applies to the Project as amended.  The Consultant shall so indicate by checking the appropriate box.  For any Section/Sub-Section that applies to the Project as amended, the Consultant shall provide the amended Section/Sub-Section at the End of this Section.  The Consultant is advised that any amended Section/Sub-Section must be approved in writing by DDC. 

The Contractor is advised that various Sections/Sub-Sections in the General Conditions may not apply to this Project or may apply as amended.  Such Sections/Sub-Sections advise the Contractor to “Refer to the Addendum for the applicability of this Section/Sub-Section.”  Such Sections/Sub-Sections are set forth below.  A check mark indicates whether the Section/Sub-Section (1) applies to the Project, (2) does not apply to the Project, or (3) applies to the Project as amended.  If no box is checked, the Section/Sub-Section, as set forth in the General Conditions, applies to the Project.  Amended Sections/Sub-Sections, if any, are set forth following this list of Sections.
	Section
	Sub-Section
	Sub-Section 
	Applies
	
	Does not Apply
	
	Applies as Amended

	01 1000
	1.4 (B)
	Scope and Intent / LEED
	 
	
	 
	
	   

	 
	1.4(C)
	Scope and Intent / Commissioning
	
	
	
	
	

	01 3216.10
	
	Project Schedules (Method A)
(Applies For Projects Estimated Under $3 Million)

	
	
	
	
	

	01 3216.20
	
	Project Schedules (Method B)
(Applies For Projects Estimated Between $3 - $20 Million)

	
	
	
	
	

	01 3216.30
	
	Project Schedules (Method C)
(Applies For Projects Estimated Over $ 20 Million)

	
	
	
	
	

	
	1.7 Q
	Cost Loaded Schedule 
(default applies if Method C is selected)
	
	
	
	
	

	01 3233
	 
	Photographic Documentation 
	 
	
	
	
	

	01 3300
	1.7 (A-D)
	LEED Submittals
	
	
	
	
	

	01 3503
	 
	General Mechanical Requirements
	
	
	
	
	

	01 3506
	3.2 (A-B)
	Electrical Conduit System Including Boxes (Pull, Junction and Outlet)
	
	
	
	
	

	
	3.3 (A-E)
	Electrical Wiring Devices
	
	
	
	
	

	
	3.4 (A-I)
	Electrical Conductors and Terminations
	
	
	
	
	

	
	3.5 (A-B)
	Circuit Protective Devices
	
	
	
	
	

	
	3.6 (A-J)
	Distribution Centers
	
	
	
	
	

	
	3.7 (A-I)
	Motors
	
	
	
	
	

	
	3.8 (A-I)
	Motor Control Equipment
	
	
	
	
	

	01 3591
	  
	Historic Treatment Procedures
	
	
	
	
	

	01 5000
	3.2 (A)
	Temporary Water Facilities / Temporary Water
	
	
	
	
	

	
	3.2 (B)
	Temporary Water Facilities / Temporary Water – Work in Existing Facilities
	
	
	
	
	

	
	3.3 (B)
	Temporary Sanitary Facilities / Self-Contained Toilet Units
	
	
	
	
	

	
	3.3 (C) 
	Temporary Sanitary Facilities / Existing Toilets
	
	
	
	
	

	
	 3.4 (B) 1
	Temporary Power, Lighting, and Site Lighting / Connection to Utility Lines
	
	
	
	
	

	
	3.4 (B)  2 
	Temporary Power, Lighting, and Site Lighting / Connection to Existing Electrical Power Service

Payment by facility – amend sub-section if by contractor
	
	
	
	
	

	 
	 3.4 (B) 3
	Temporary Power, Lighting, and Site Lighting / Electrical Generator Power Service
	
	
	
	
	

	 
	 3.4 (D)
	Temporary Power, Lighting, and Site Lighting / Temporary Lighting
	
	
	
	
	

	
	 3.4 (E)
	Temporary Power, Lighting, and Site Lighting / Site Security Lighting (for New Construction Only)
	
	
	
	
	

	 
	 3.5 (A-J)
	Temporary Heat
	
	
	
	
	

	 
	 3.8 (A)
	DDC Field Office / Office Space in Existing Building
	
	
	
	
	


	Section
	Sub-Section
	Sub-Section 
	Applies
	
	Does not Apply
	
	Applies as Amended

	01 5000
	 3.8 (B)
	DDC Field Office / DDC Field Office Trailer
	
	
	
	
	

	
	 3.8 (B-3a)
	DDC Field Office / DDC Managed Field Office Trailer
Select for projects managed by DDC using its own personnel (see Section IV).
	
	
	
	
	

	
	3.8 (B-3b)
	DDC Field Office / CM Managed Field Office Trailer
Select for projects managed by a Construction Management firm (see Section IV).
	
	
	
	
	

	
	 3.8 (D)
	DDC Field Office / Additional Equipment for the DDC Field Office
	
	
	
	
	

	
	3.13(A-D)
	Work Fence Enclosure
	
	
	
	
	

	
	3.17(B)
	Project Rendering
	
	
	
	
	

	
	 3.18 (A-C)
	Security Guards / Fire Guards on Site
	
	
	
	
	

	 01 5411
	3.1 (A-J)
	Temporary Use, Operation and Maintenance of Elevators During Construction for New Buildings Up To and Including 15 Stories
	
	
	
	
	

	
	3.2 (A-M)
	Temporary Use, Operation and Maintenance of Elevators During Construction for New Buildings Over 15 Stories
	
	
	
	
	

	
	3.3 (A-E)
	Temporary Use, Operation and Maintenance of Elevators During Construction for Existing Buildings
	
	
	
	
	

	01 7300
	3.3 (A-I)
	Surveys
	
	
	
	
	

	
	3.4 (A-B)
	Borings
	
	
	
	
	

	
	3.12 (A-D)
	Sleeves and Hangers
	
	
	
	
	

	
	3.13 (A)
	Sleeve and Penetration Drawings
	
	
	
	
	

	
	3.15 (A)
	Location of Partitions
	
	
	
	
	

	01 7419
	1.5 (C)
	Waste Management Performance Requirements / LEED Certification
	
	
	
	
	

	01 7900
	
	Demonstration and Owner’s Pre-Acceptance Orientation
	
	
	
	
	

	01 8113.03
	
	Sustainable Design Requirements for LEED v3 Buildings
	
	
	
	
	

	01 8113.04
	
	Sustainable Design Requirements for LEED v4 Buildings
	
	
	
	
	

	01 8113.13
	
	VOC Limits for Adhesives, Sealants, Paints and Coatings for LEED v3 Buildings
	
	
	
	
	

	01 8119
	
	Indoor Air Quality Requirements for LEED Buildings
	
	
	
	
	

	01 9113
	
	General Commissioning Requirements for MEP Systems
	
	
	
	
	

	01 9115
	
	General Commissioning Requirements for Building Enclosure
	
	
	
	
	


AMENDED SECTIONS/SUB-SECTIONS
 For any Section/Sub-Section that applies to the Project as amended, the Consultant shall provide the amended Section/Sub-Section.  The Consultant is advised that any amended Sections/Sub-Sections must be approved in writing by DDC.  If there are no amended Sections/Sub-Sections, the Consultant shall delete this Section. 

The Contractor is advised that the amended Sub-Sections set forth below are included in the General Conditions and apply to the Project.

ADDITIONAL SECTIONS/SUB-SECTIONS
 For any Section/Sub-Section that applies to the Project as additional, the Consultant shall provide the additional Section/Sub-Section.  The Consultant is advised that any additional Sections/Sub-Sections must be approved in writing by DDC.  If there are no additional Sections/Sub-Sections, the Consultant shall delete this Section. 

The Contractor is advised that the additional Sub-Sections set forth below are included in the General Conditions and apply to the Project.

VIII. SPECIAL EXPERIENCE REQUIREMENTS FOR THE PROJECT

If Special Experience Requirements apply to the project (for the bidder, installers, or manufacturers) include the following language:

Refer to the PASSPort Questionnaire for Special Experience Requirements.

 If there are no Special Experience Requirements, the text ‘NOT USED’ shall be inserted.
IX. REVISIONS:  SPECIFICATIONS AND CONTRACT DRAWINGS 
The Specifications and the Contract Drawings for the Project are revised in accordance with the provisions set forth below. 

(1)
Owner:  Wherever the term “Owner” is used in the Specifications and/or the Contract Drawings, such term shall mean the City of New York.

(2)
Other Entities:  In the event any entity other than the City of New York is referred to or named as the “Owner” in the Specifications and/or the Contract Drawings, the name of such other entity is deemed deleted and replaced with the “City of New York”.

(3)
Architect / Engineer:  Wherever the words “Architect”, “Engineer”, “Architect / Engineer” or “Architect and/or Engineer” are used in the Specifications and/or the Contract Drawings, such words are deemed deleted and replaced with the word “Commissioner”.

(4)
Products / Manufacturers:  Wherever the Specifications and/or the Contract Drawings require the Contractor to provide a particular product (i.e., material and/or equipment) from a designated manufacturer and/or vendor, the term “or approved equal” is deemed inserted, even if only one product and/or manufacturer is specified, except as otherwise provided below.     

(a)
Proprietary Items:  If the Documents section in PASSPort contains a Notice which identifies a particular product from a designated manufacturer as a "Sole Source Product, the Contractor shall be required to provide such specified product. In such case, no substitution or “approved equal” will be permitted. 

(5)
Special Experience Requirements:  Special Experience Requirements for the Project, if any, are set forth in the PASSPort Questionnaire.  Special Experience Requirements may apply to Contractors, subcontractors, installers, manufacturers and/or suppliers.  If the Specifications and/or the Contract Drawings contain any Special Experience Requirement that is not set forth in the PASSPort Questionnaire, such Special Experience Requirement is deemed deleted, except as otherwise provided below.  

(a)
Any Special Experience Requirement that provides that the entity performing the work or supplying the material must have more than three (3) years of experience, is revised to provide that the entity performing the work or supplying the material must have three (3) years of experience, except as described in paragraph (b) below. 

(b)
Any Special Experience Requirement that pertains to the abatement of hazardous materials shall not be subject to the deletion and/or revision set forth above.  Such Special Experience Requirement shall remain in full force and effect. 

(c)
Any Special Experience Requirement that provides that the entity performing the work must be licensed, authorized, certified, approved by or acceptable to the manufacturer, is deemed deleted and replaced with the requirement that such entity must be properly trained for the specified work.   

(d)
Any Special Experience Requirement that provides that the individual workers performing the work must be licensed, authorized, certified, approved by or acceptable to the manufacturer, is deemed deleted and replaced with the requirement that such individual workers must be properly trained for the specified work.  

(6)
Alternate Bids:  If the agency is requesting the submission of Alternate Bids, a Notice regarding such Alternate Bids is set forth in the  Documents section in PASSPort.  In the event of any conflict or inconsistency between (1) the Notice regarding Alternate Bids set forth in the Documents section in PASSPort and (2) a provision in the Specifications and/or the Contract Drawings regarding Alternate Bids, the Notice set forth in the Documents section in shall prevail. If the agency is not requesting the submission of Alternate Bids, as indicated by the absence of a Notice in the Documents section in PASSPort , and the Specifications and/or the Contract Drawings contain any provision regarding Alternate Bids, such provision is deemed deleted.  
(7)
Contractor Retained Engineer:  If the Specifications and/or the Contract Drawings require the Contractor to retain an Engineer to provide engineering services for the Project, the following sentence is deemed inserted: “Such Engineer must be a Professional Engineer, licensed in the State of New York.”
(8)
LEED Related Provisions:  If the Specifications and/or the Contract Drawings require the Contractor to purchase FSC certified wood,  rapidly renewable materials,  or materials within 500 miles (LEED v3) or 100 miles (LEED v4), such provisions are deemed deleted and replaced with the requirement that if the Contractor has purchased FSC certified wood,  rapidly renewable materials,  or materials within 500 miles (LEED v3) or 100 miles (LEED v4), the Contractor shall submit such forms or documentation as may be required by the City in order for the USGBC to certify that the Project qualifies for the related LEED credit(s).
(9)
Guarantees:  Requirements for Guarantees and Maintenance are set forth in Schedule B, which is included in the Addendum to the General Conditions.  In the event of any conflict or inconsistency between (1) a guarantee and/or maintenance requirement set forth in the Specifications and/or the Contract Drawings and (2) a guarantee and/or maintenance requirement set forth in Schedule B, the guarantee and/or maintenance requirement set forth in Schedule B shall prevail. 
(10)
Warranties:  Requirements for Warranties are set forth in Schedule B, which is included in the Addendum to the General Conditions. 
 (a)
The term “manufacturer’s warranty” as described in this article encompasses the following terms as indicated in the Specifications: “Manufacturer’s Warranty”, “Manufacturer’s Special Warranty”, “Special Warranty”, “Special Finish Warranty”, “Manufacturer’s Special Warranty for a (product, assembly).”
(b)
In the event of any conflict or inconsistency between (1) a warranty requirement set forth in the Specifications and/or the Contract Drawings and (2) a warranty requirement set forth in Schedule B, the warranty requirement set forth in Schedule B shall prevail.
(c)
In the event a warranty requirement set forth in the Specifications and/or the Contract Drawings is omitted from Schedule B, such omission from Schedule B shall have no effect and the Contractor’s obligation to provide the manufacturer’s warranty, as set forth in the Specifications and/or the Contract Drawings, shall remain in full force and effect.
(d)
In the event a warranty requirement for a particular item of material or equipment is omitted from Schedule B, as well as from the Specifications or the Contract Drawings, and the manufacturer of such item actually provides a warranty, the Contractor shall be obligated to obtain and deliver to the Commissioner the highest level of warranty actually provided by that manufacturer.    

(11)
Exculpatory Provisions:  In the event the Specifications and/or the Contract Drawings contain any provision whereby the consultant and/or any of its officers, employees or agents, including subconsultants, is absolved of responsibility for any act or omission, such provision is deemed deleted.  

(12)
Insurance:  Provisions regarding insurance coverage the Contractor is required to provide are set forth in Article 22 of the City of New York Standard Construction Contract and Schedule A, which is included in the Addendum to the General Conditions.  In the event the Specifications and/or the Contract Drawings contain any provision regarding insurance requirements, such provision is deemed deleted.  

(13)
Indemnification:  Provisions regarding indemnification are set forth in Articles 7, 12, 22 and 57 of the City of New York Standard Construction Contract.  In the event the Specifications and/or the Contract Drawings contain any provision regarding indemnification, such provision is deemed deleted.  

(14)
Dispute Resolution:  Provisions regarding dispute resolution are set forth in Article 27 of the City of New York Standard Construction Contract.  In the event the Specifications and/or the Contract Drawings contain any provision regarding dispute resolution, such provision is deemed deleted.

(15)
Payment to Other Entities:  In the event the Specifications and/or the Contract Drawings contain any provision which requires the Contractor to make payments to an entity other than a subcontractor and/or supplier providing services and/or material for the project, such provision is deemed deleted.

(16)
General Conditions:  In the event of any conflict or inconsistency between (1) the Specifications and/or the Contract Drawings and (2) the General Conditions, the General Conditions shall prevail.

(17)
Standard Construction Contract:  In the event of any conflict or inconsistency between (1) the Specifications and/or the Contract Drawings and (2) the City of New York Standard Construction Contract, the City of New York Standard Construction Contract shall prevail.
Schedule A for Publicly Bid Projects:  This Schedule A begins below and continues for several pages. The consultant shall revise the yellow hi-lighted areas only and delete yellow instructions when completed.  

SCHEDULE A  (FOR PUBLICLY BID PROJECTS) 

PART I - Contract Requirements

Various Articles of the Contract refer to requirements which are set forth in Schedule A of the General Conditions.  The Schedule set forth below specifies the following: (1) the referenced Articles of the Contract, and (2) the specific requirements applicable to the contract.

	REFERENCE
	ITEM
	REQUIREMENTS
	CONTRACT #1  

	Information For Bidders
	Bid Security
	The Contractor must obtain a bid security in the amount indicated to the right.
	Required provided the TOTAL BID PRICE set forth on the Bid Form is $1,000,000. or more.

Certified Check:  2% of Bid Amount

or

Bond:  10% of Bid Amount

	Information For Bidders
	Performance and Payment Bonds
	
	For Contracts in the amount of $1,000,000.00 or more, Performance and Payment Bonds must each

be in amount equal to 100% of the Contract Price.

	Information For Bidders

	Department of Design and Construction Safety Requirements
	The Contractor must provide the safety personnel as indicated to the right.
	■ Project Safety Representative

□ Dedicated, full-time Project Safety Representative
Always check top box. Check bottom box if a full time safety manager is wanted.

	Article 14

Contract
	Time of Substantial Completion
	Consecutive

Calendar Days
	0
	 
	 
	 



The Consultant shall insert the time for completion 
SCHEDULE FOR CONTRACT DURATION
of each contract in Calendar Days above, based on
Construction Budget
Standard Construction Duration
the SCHEDULE FOR CONTRACT DURATION.   
$0 – 499,999

6 months
(180 ccd)





$500,000 – 999,999
9 months
(270 ccd)






$1,000,000 – 2,999,999
16 months
(480 ccd)






$3,000,000 – 4,999,999
18 months
(540 ccd)






$5,000,000 – 9,999,999
24 months
(720 ccd)






$10,000,000 and over
No Standard
	Article 15

Contract
	Liquidated Damages
	For each consecutive calendar day over completion time
	$
	 
	 
	 







SCHEDULE FOR LIQUIDATED DAMAGES
The Consultant shall insert amounts for liquidated 
VALUE OF 

 

damages above for each contract from the CONTRACT
CONTRACT


SCHEDULE FOR LIQUIDATED DAMAGES.
 $1,001      -
 $10,000

$40



$10,001
-
$50,000
$60
 


$50,001
-
$100,000
$80
 


$100,001
-
$500,000
$120
 


$500,001
-
$1,000,000
$200
 


$1,000,001
-
$2,000,000
$400
 


$2,000,001
-
AND OVER
$600
 
	Article 17

Contract
	Sub-

Contracts
	Not to exceed Percent
of Contract Price
	50%
Revise this # based on project scope IF the majority of the work is one trade, but less than 50% of the total cost of project

	 
	 
	 

	Article 21

Contract
	Retainage
	Percent of 

Voucher
	If 100% bonds are required
	5%

	
	
	
	If 100% bonds are not required, and

Contract Price is $1,000,000 or less
	5%

	
	
	
	If 100% bonds are not required, and

Contract Price is more than $1,000,000
	10%

	

	Article 24

Contract
	Deposit

Guarantee
	Percent of 

Contract Price
	       1%
	


	Article 24

Contract


Article 74

Contract


Article 75

Contract


	Period of

Guarantee
Statement of

Work

Compensation to be Paid to Contractor


	 
	See Schedule B of the Addendum to the General Conditions
Addenda, numbered: ______________
Amount for which the Contract was Awarded: _______________________________

_________________________ Dollars

($____________________________)

 
	 
	 
	 

	Article 79
Contract


	MWBE Program
	 
	See M/WBE Utilization Plan in the PASSPort Procurement 

M/WBE Considerations Section.
 
	 


SCHEDULE A  (FOR PUBLICLY BID PROJECTS)

Relating to Article 22 - Insurance

PART II.  Types of Insurance, Minimum Limits and Special Conditions

Note: All certificate(s) of insurance submitted pursuant to Contract Article 22.3. 3 must be accompanied by a Certification by Broker consistent with Part III below and include the following information:

· For each insurance policy, the name and NAIC number of issuing company, number of policy, and effective dates;

· Policy limits consistent with the requirements listed below;

· Additional insureds or loss payees consistent with the requirements listed below; and

· The number assigned to the Contract by the City (in the “Description of Operations” field).

Insurance indicated by a blackened box (■) or by (X) in the □ to left will be required under this contract.
	Types of Insurance

(per Article 22 in its entirety, including listed paragraph)
	Minimum Limits and Special Conditions

	■ Commercial General Liability           Art. 22.1.1


	This Contract requires Commercial General Liability Insurance (CGL) that is at least as broad as ISO Form CG 00 01 (see Section 22.1.1 of the New York City Standard Construction Contract). CGL policies that include endorsements that add exclusions to ISO Form CG 00 01 do not comply with the Contract. The Department may, in its sole discretion, accept endorsements that add exclusions, but the Department will generally reject endorsements that add exclusions that exempt all or part of the Work of the Project. For example, if the Project includes Work on a roof of a four-story building, the Department will reject a CGL policy that includes a “Three Story Height Limitation Endorsement.”

The minimum limits shall be $1,000,000.00 per occurrence and $2,000,000.00 per project aggregate applicable to this Contract. 

Additional Insureds:

1. City of New York, including its officials and employees, with coverage at least as broad as ISO Forms CG 20 10 and CG 20 37, and 

2. All person(s) or organization(s), if any, that Article 22.1.1(b) of the Contract requires to be named as Additional Insured(s), with coverage at least as broad as ISO Form CG 20 26. The Additional Insured endorsement shall either specify the entity's name, if known, or the entity's title (e.g., Project Manager). 

The Consultant shall include any agency or entity specified by the DDC Project Manager. Include property owner here, if non-city owned.
3. __________________________________




	SCHEDULE A  (FOR PUBLICLY BID PROJECTS)

Relating to Article 22 - Insurance

PART II.  Types of Insurance, Minimum Limits and Special Conditions

Insurance indicated by a blackened box (■) or by (X) in the □ to left will be required under this contract.

	Types of Insurance

(per Article 22 in its entirety, including listed paragraph)
	Minimum Limits and Special Conditions

	■  Workers’ Compensation                    Art. 22.1.2

■  Disability Benefits Insurance             Art. 22.1.2

■  Employers’ Liability                            Art. 22.1.2
□  Jones Act                                           Art. 22.1.3

□ U.S. Longshoremen’s and Harbor Workers Compensation Act                                                         Art. 22.1.3                             
	Workers’ Compensation, Employers’ Liability, and Disability Benefits Insurance: Statutory per New York State law without regard to jurisdiction. 

Note: The following forms are acceptable: (1) New York State Workers’ Compensation Board Form No.  C-105.2, (2) State Insurance Fund Form No. U-26.3, (3) New York State Workers’ Compensation Board Form No. DB-120.1 and (3) Request for WC/DB Exemption Form No. CE-200. The City will not accept an ACORD form as proof of Workers’ Compensation or Disability Insurance.  

Jones Act and U.S. Longshoremen’s and Harbor Workers’ Compensation Act: Statutory per U.S. law.

	■ Builders’ Risk                                             Art. 22.1.4 


	100 % of total value of Work 
Contractor the Named Insured; the City both an Additional Insured and one of the loss payees as its interests may appear.

If the Work does not involve construction of a new building or gut renovation work, the Contractor may provide an installation floater in lieu of Builders Risk insurance. 

Note:  Builders Risk Insurance may terminate upon Substantial Completion of the Work in its entirety.

	■ Commercial Auto Liability                         Art. 22.1.5


	$1,000,000.00 per accident combined single limit 
If vehicles are used for transporting hazardous materials, the Contractor shall provide pollution liability broadened coverage for covered vehicles (endorsement CA 99 48) as well as proof of MCS 90




SCHEDULE A  (FOR PUBLICLY BID PROJECTS)

Relating to Article 22 - Insurance

PART II.  Types of Insurance, Minimum Limits and Special Conditions

Insurance indicated by a blackened box (■) or by (X) in the □ to left will be required under this contract.

	Types of Insurance

(per Article 22 in its entirety, including listed paragraph)
	Minimum Limits and Special Conditions

	□ Contractor’s Pollution Liability                   Art. 22.1.6 


	$____________ per occurrence

$____________ aggregate 

Additional Insureds:

1. City of New York, including its officials and employees, and

2. __________________________________

3. __________________________________



	□ Marine Protection and Indemnity                Art. 22.1.7(a)
	$____________ per occurrence

$____________ aggregate

Additional Insureds:

1. City of New York, including its officials and employees, and

2. __________________________________

3. __________________________________



	□ Hull and Machinery Insurance          Art. 22.1.7(b)
	$____________ per occurrence

$____________ aggregate

 Additional Insureds:

1. City of New York, including its officials and employees, and

2. __________________________________

3. __________________________________



	□ Marine Pollution Liability                Art. 22.1.7(c)
	$____________ each occurrence 

Additional Insureds:

1. City of New York, including its officials and employees, and

2. __________________________________

3. __________________________________



	[OTHER]                                                 Art. 22.1.8

□ Ship Repairers Legal Liability          
	$____________ each occurrence 


SCHEDULE A  (FOR PUBLICLY BID PROJECTS)

Relating to Article 22 - Insurance

PART II.  Types of Insurance, Minimum Limits and Special Conditions (Continued)

Insurance indicated by a blackened box (■) or by (X) in the □ to left will be required under this contract.

	Types of Insurance

(per Article 22 in its entirety, including listed paragraph)
	Minimum Limits and Special Conditions

	[OTHER]                                                 Art. 22.1.8

□ Collision Liability/Towers Liability   
	$____________ per occurrence

$____________ aggregate

 Additional Insureds:

1. City of New York, including its officials and employees, and

2. __________________________________

3. __________________________________


	[OTHER]                                                 Art. 22.1.8
□ Railroad Protective Liability 


	$____________ per occurrence

$____________ aggregate

 Additional Insureds:

1. City of New York, including its officials and employees, and

2. __________________________________

3. __________________________________



	[OTHER]                                                 Art. 22.1.8

It the project includes Asbestos Abatement, the Consultant shall fill in the box below or mark it with an (■).
□ Asbestos Liability _____________________


	Only required of the Contractor or Subcontractor performing any required asbestos removal.

$1,000,000 each occurrence, 

$2,000,000 aggregate (Combined Single Limit); only required of the Contractor or Subcontractor performing any required asbestos removal.

Additional Insureds:

1. City of New York, including its officials and employees, and

The Consultant shall include any agency or entity specified by the DDC Project Manager. Include property owner here, if non-city owned.
2. __________________________________

3. __________________________________


SCHEDULE A  (FOR PUBLICLY BID PROJECTS)

Relating to Article 22 - Insurance

PART II. Types of Insurance, Minimum Limits and Special Conditions (Continued)

Insurance indicated by a blackened box (■) or by (X) in the □ to left will be required under this contract.

	[OTHER]                                                 Art. 22.1.8

It the project includes a new Boiler installation, the Consultant shall fill in the box below or mark it with an (■).
□ Boiler Insurance__________________________
	$200,000 

	[OTHER]                                                 Art. 22.1.8

■  Professional Liability

In the event any section of the Specifications requires the Contractor to engage a Professional Engineer to provide design and/or engineering services, the Engineer engaged by the Contractor, as well as any sub consultant(s) performing professional services, shall provide Professional Liability Insurance.
	$1,000,000 per occurrence

The Contractor’s Professional Engineer shall maintain and submit evidence of Professional Liability Insurance in the minimum amount of $1,000,000 per claim.  The policy or policies shall include an endorsement to cover the liability assumed by the Contractor under this Agreement arising out of the negligent performance of professional services or caused by an error, omission or negligent act of the Contractor’s Professional Engineer or anyone employed by the Contractor’s Professional Engineer.

Claims-made policies will be accepted for Professional Liability Insurance.  All such policies shall have an extended reporting period option or automatic coverage of not less than two (2) years.  If available as an option, the Contractor’s Professional Engineer shall purchase extended reporting period coverage effective on cancellation or termination of such insurance unless a new policy is secured with a retroactive date, including at least the last policy year.

	OTHER]                                                 Art. 22.1.8

□  Umbrella/Excess Liability Insurance
The Contractor shall provide Umbrella/Excess Liability Insurance in the minimum amounts shown to the right. The policy terms and condition should be at least as broad as the underlying policies.  The underlying policies should comply with the insurance provision as outlined by the contract.  Defense cost should be in addition to the limit of liability. The City of New York, including its officials and employees, should be included as additional insured as respects to the noted project.
	$10,000,000 per Occurrence and

$10,000,000 in Aggregate


SCHEDULE A  (FOR PUBLICLY BID PROJECTS) 

Relating to Article 22 - Insurance

PART III.  Certificates of Insurance

All certificates of insurance (except certificates of insurance solely evidencing Workers’ Compensation Insurance, Employer’s Liability Insurance, and/or Disability Benefits Insurance) must be accompanied by one of the following:

(1) the Certification by Insurance Broker or Agent on the following page setting forth the required information and signatures; 

-- OR --

(2) copies of all policies as certified by an authorized representative of the issuing insurance carrier that are referenced in such certificate of insurance. If any policy is not available at the time of submission, certified binders may be submitted until such time as the policy is available, at which time a certified copy of the policy shall be submitted.

SCHEDULE A  (FOR PUBLICLY BID PROJECTS) 

Relating to Article 22 - Insurance

PART III.  Certification by Insurance Broker or Agent
The undersigned insurance broker or agent represents to the City of New York that the attached Certificate of Insurance is accurate in all material respects.





_________________________________________________


[Name of broker or agent (typewritten)]





_________________________________________________

[Address of broker or agent (typewritten)]








_________________________________________________

[Email address of broker or agent (typewritten)]


_________________________________________________

[Phone number/Fax number of broker or agent (typewritten)]


_________________________________________________

[Signature of authorized official or broker or agent]








_________________________________________________


[Name and title of authorized official, broker or agent (typewritten)]

State of …………………………...)





) ss:

County of …………………………)

Sworn to before me this

_____ day of ___________, 20__

___________________________________________________

NOTARY PUBLIC FOR THE STATE OF__________________

SCHEDULE A  (FOR PUBLICLY BID PROJECTS) 

Relating to Article 22 - Insurance

PART IV.  Address of Commissioner

Wherever reference is made in Article 7 or Article 22 to documents to be sent to the Commissioner (e.g., notices, filings, or submissions), such documents shall be sent to the address set forth below or, in the absence of such address, to the Commissioner’s address as provided elsewhere in this Contract.  


ACCO’s Office, Insurance Unit


30-30 Thomson Avenue, 4th Floor

 
Long Island City, New York 11101 

SCHEDULE B

Guarantees and Warranties

(Reference: Section 01 7839, Article 2.7 of the DDC Standard General Conditions)


GUARANTY FROM CONTRACTOR

(1)
Contractor’s Guaranty Obligation:  The Contractor shall promptly repair, replace, restore or rebuild, as the Commissioner may determine, any finished Work in which defects of materials or workmanship may appear or to which damage may occur because of such defects, during the one (1) year period subsequent to the date of Substantial Completion (or use and occupancy in accordance with the Contract), except for the areas of Work set forth below:

· Roofing, Waterproofing, and Joint Sealant Work. For these types of work, the guarantee period shall be (2) two years.
· Trees and/or Plant Material.  For trees and/or plant material furnished and installed, the guarantee period shall be (2) two years.  During the guarantee period, the Contractor shall provide all maintenance services set forth in the Specifications.   



(2)
Guaranty Period:  The obligation of the Contractor, and its Surety under the Performance Bond, is 
limited to the period(s) of time specified above.       


(3)
Other Provisions Deemed Deleted:  In the event the Specifications and/or the Contract Drawings 
contain any provisions regarding guaranty requirements, such provisions are deemed deleted and replaced 
with the guaranty requirements set forth in this Schedule B.

*****************************************************************


WARRANTY FROM MANUFACTURER


(1)
Contractor’s Obligation to Provide Warranties:  The items of material and/or equipment for which manufacturer warranties are required are listed below.  For each item of material and/or equipment listed below, the Contractor shall obtain a written warranty from the manufacturer.  Such warranty shall provide that the material or equipment is free from defects for the period set forth below and will be replaced or repaired within such specified period.  The Contractor shall deliver all required warranties to the Commissioner.

(2)
Required Warranties:

Specification Number

Material or Equipment

Warranty Period


The Consultant shall list all manufacturer warranty requirements which are set forth in the Specifications.  For all warranty requirements, the Consultant shall provide the following information: (1) the Specification section number, (2) the item of material or equipment for which a warranty is required, and (3) the length of the warranty period. 
(3)
Application:
The obligations under the warranty for the periods specified above shall apply only to the manufacturer of the material or equipment, and not to the Contractor or its Surety; provided, however, the Contractor retains responsibility for obtaining all required warranties from the manufacturers and delivering the same to the Commissioner.
(4)
Other Provisions: The warranty requirements set forth in this Schedule B are also included in the Specifications.  
(a)
In the event of any conflict between a warranty requirement set forth in the Specifications and a warranty requirement set forth in Schedule B, the warranty requirement set forth in Schedule B shall take precedence.
(b)
In the event a warranty requirement set forth in the Specifications is omitted from Schedule B, such omission from Schedule B shall have no effect and the Contractor’s obligation to provide the manufacturer’s warranty, as set forth in the Specifications, shall remain in full force and effect.
(c)
In the event a warranty requirement for a particular item of material or equipment is omitted from both Schedule B and the Specifications, and the manufacturer of such item actually provides a warranty, the Contractor shall be obligated to obtain and deliver to the Commissioner the highest level of warranty actually provided by that manufacturer.    









(d)
In the event a warranty requirement is provided for a particular item of material or equipment, and such requirement specifies a warranty period that is longer than that which is actually provided by any of the specified manufacturers, the Contractor shall be obligated to obtain and deliver to the Commissioner the highest level of warranty actually provided by any of the specified manufacturers, unless otherwise directed in writing by the Commissioner.  

(e)
Unless indicated otherwise Warranties are to take effect on the date of Substantial Completion.
SCHEDULE C

Contract Drawings

(Reference: Section 01 1000, Article 1.5 (A) of the DDC Standard General Conditions)

The Schedule set forth below lists all Contract Drawings for the Project.

The Consultant shall provide a complete list of all Contract Drawings. Include HazMat Drawings from DDC OEHS, if applicable.
Drawing 

Drawing

Drawing

SCHEDULE D

Electrical Motor Control Equipment

(Reference: 01 3506, Article 3.8 of the DDC Standard General Conditions)
Requirements for electrical motor equipment may be included in one or more sections of the Specifications for the Contract for the Project.  Schedule D set forth below delineates specific information for electrical motor control equipment.  In the event of any conflict between the Specifications and this Schedule D, Schedule D shall take precedence; provided, however, in the event of an omission from Schedule D (i.e., Schedule D omits either a reference to or information concerning electrical motor equipment which is set forth in the Specifications), such omission from Schedule D shall have no effect and the Contractor’s obligation with respect to the electrical motor control equipment, as set forth in the Specifications, shall remain in full force and effect.
The Consultant shall complete Schedule D as appropriate for this Project.  If the Project does not include Electrical Motor Control Equipment, the Consultant shall delete Schedule D in its entirety and replace it with “NO TEXT.”

DB  Disconnect Circuit Breaker (Switch)
P  Pilot Light 
BG  Break Glass Station

TS  Thermal Switch
F  Firestat
HOA  Hand‑Off Auto.

MS  Magnetic Starter
T  Thermostat
PB  Push Button Station

CMS  Comb. Mag. Starter
AL  Alternator
RO  Remote "off"

	Equip.

Ident.
	Location
	# of Units
	HP or KW
	Volts and Phase
	Control Type:

See legend above
	Remarks:



	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	


SCHEDULE E

Separation of Trades

NOT USED FOR SINGLE CONTRACTS
THIS PAGE INTENTIONALLY LEFT BLANK (if odd number of pages only)

_______________________________________________________________________________________

Addendum to the General Conditions
                  Page 3 of 26

March 15, 2020 

